## Sheet1
Lab | Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Murphy & Metcalf | Formic Acid | Fisher Chemical | A117 | 99.5+%, Optima LC/MS Grade
Murphy & Metcalf | α-Cyano-4-hydroxycinnamic acid | Sigma | C2020 | ≥98% (TLC), powder
Murphy & Metcalf | Acetonitrile | Fisher | A9551 | LC-MS Ultra CHROMASOLV
Murphy & Metcalf | Methanol | Fisher Chemical | A456-4 | LC-MS Grade
Murphy & Metcalf | Water | Honeywell | LC365 | LC-MS Grade
Murphy & Metcalf | Trifluoroacetic acid | Fisher | A116 | LC-MS Grade
Metcalf | Toothpicks | NA | NA | Wood toothpicks are preferred
Murphy | Bruker Peptide Calibration standard | Fisher | NC9846988 | Bruker Daltonics 8206195
Murphy | Bruker Daltonics Bacterial test standard | Fisher | NC0884024 | Bruker Daltonics 8604530. Note: This is not IVD BTS, which is for clinic-approved applications.
Murphy & Sanchez | 384-spot MALDI plates | Bruker Daltonics | varies
Sanchez | Autoflex Speed LRF MALDI-TOF instrument | Bruker Daltonics | NA | Software is being continuously updated to support more vendor instruments